## Slide 1: IBC, Modified IBC, SBC, and Site Specific Considerations
Shahram Pezeshk, Ph.D., P.E.
spezeshk@memphis.edu

## Slide 2: IBC 2018 and ASCE7-16

## Slide 3: Evolution of Seismic Codes
San Fernando, 1971
SEAOC, 1980
UBC, 1982
UBC, 1985
UBC, 1988
UBC, 1992
UBC, 1994
UBC, 1997
ATC, 1978
BSSC, 1985
NEHRP, 1991
NEHRP, 1994
NEHRP, 97,03
IBC2000
IBC03 & IBC06,
IBC2012,IBC2015,
IBC2020,
ASCE7-10, ASCE7-16
ANSI, 1982
SBC, 1994,1997
SBC, 1999

## Slide 4: Maximum Considered Earthquake Ground Motion
The NEHRP 94, seismic hazards around the nation were defined at a uniform 10% probability of exceedance in 50 years and the design requirements were based on assigning a structure to a Seismic Hazard Exposure Group and a Seismic Performance Category (SPC).
While this approach provided a uniform likelihood throughout the nation that the design ground motion would not be exceeded, it did not provide for a uniform margin of failure for structures designed for that ground motion.

## Slide 5: Maximum Considered Earthquake Ground Motion
It is intended to provide a uniform margin against collapse at the design ground motion.
Ground motion hazards are defined in terms of maximum considered earthquake ground motions.
The maximum considered earthquake ground motions are based on a set of rules that depend on the seismicity of an individual region.

## Slide 6: Calculation of Seismic Coefficient
Effective Peak Velocity-Related Acceleration
The Response Modification Factor
The Fundamental Period of the Building
Soil Profile Characteristics of the Site

## Slide 7: Calculation of Seismic Coefficient
Need not be greater than
Effective Peak Acceleration

## Slide 8: Response Spectra

## Slide 9
1.0
10.0
0.1
0.01
Acceleration, g
0.001
10.0
0.10
1.0
0.01
0.001
Displacement, in.
Four-Way Log Plot of Response Spectrum - PSV vs. PSA
Plotted vs Period

## Slide 10: NEHRP-94
The ratio (for a 5% damping spectrum) of the spectral response at the appropriate period to EPA or the EPV is set at a standard value of 2.5 in both cases.
According to NEHRP 94, the effective peak acceleration (Aa) may be determined by dividing map values of the maximum 0.3 second (3 Hz) spectral response acceleration by 2.5.

## Slide 11: SBC Table 1607.3.1 Site Coefficients
Soil Profile Type | Description | Site Coefficient S
S1 | A soil profile with either: Rock of any characteristics, either shake-like or crystalline in nature, which has a shear wave velocity of greater than 2,500 ft/sec or stiff soil conditions where the soil depth is less than 200 ft and the soil types overlaying rock are stable deposits of sands, gravels or stiff clays | 1.0
S2 | A soil profile with deep cohesionless or stiff clay conditions, where the soil depth exceeds 200 ft and soil types overlaying rock are stable deposits of sands, gravels, or stiff clay. | 1.2
S3 | A soil profile containing 20 to 40 ft in thickness of soft to medium stiff clays with or without intervening layers of cohesionless soils. | 1.5
S4 | A soil profile characterized by a shear wave velocity of less than 500 feet per second containing more than 40 ft of soft clay. | 2.0

## Slide 12: Acceleration Spectra for Different Site Conditions

## Slide 13: IBC Classification of Buildings

## Slide 14: IBC2003 and NEHRP97 Maximum Considered Earthquake Ground Motion
It is intended to provide a uniform margin against collapse at the design ground motion.
Ground motion hazards are defined in terms of maximum considered earthquake ground motions.
The maximum considered earthquake ground motions are based on a set of rules that depend on the seismicity of an individual region.

## Slide 15: 2% in 50 Years? 10% in 50 Years 3% in 75 Years?
2% probability of exceedance in 50 years
3% probability of exceedance in 75 years
10% probability of exceedance in 50 years

## Slide 16: Design Spectral Response Accelerations Maps, Ss and S1
Ss is the mapped value, from Map 1 of 5% damped maximum considered earthquake spectral response acceleration, for short period structures founded on Class B, firm rock, sites.
The short period acceleration has been determined at a period of 0.2 seconds.

## Slide 17: Design Spectral Response Accelerations Maps, Ss and S1
S1 is the mapped value, from Map 2 of 5% damped maximum considered earthquake spectral response acceleration at a period of 1 second on site Class B.
The spectral response acceleration at periods other than 1 second can typically be derived from the acceleration at 1 second.

## Slide 19
Modified IBC2003

## Slide 20: Site Coefficients, Fa and Fv
SMS = The maximum Considered Spectral Response
Acceleration for short period
SM1 = The maximum Considered Spectral Response
Acceleration for 1 second period
Soil Profile Type

## Slide 21: Soil Profile
Type and depth of softer soil layers between rock and firm ground and base of building can affect spectral accelerations in two ways
  By amplifying rock or firm ground acceleration
    most significant for low rock or firm ground accelerations and very soft soil layers.
  By filtering rock or firm ground accelerations
    softer soil layers act as filter
    Change of frequency content.

## Slide 22: Site Class

## Slide 23: Average Shear-Wave Velocity and Average Blow Count

## Slide 24: When to do Site Specific

## Slide 25: Fa as a Function of Site Class
IBC2012
IBC2018

## Slide 26: Fv as a Function of Site Class
IBC2012
IBC2018

## Slide 27: Design Earthquake Ground Motion
The design
earthquake
ground motion
is selected
Maximum
considered
earthquake
ground motion
=
For most regions, the maximum considered earthquake ground motion is defined with a uniform likelihood of exceedance of 2% in 50 years (return period of about 2500 years)

## Slide 28: Design Spectral Response Acceleration Parameters, SDS and SD1

## Slide 29: Design Response Spectrum
SDS
SD1
T0
TS
1.0
Period T
Spectral Response Acceleration Sa
Sa=SD1/T
SDS
T0=0.2SD1/SDS
TS =SD1/SDS

## Slide 30: Design Response Spectrum

## Slide 31: TL

## Slide 32: Seismic Response Coefficient
Seismic Design Category E and F for which S1 is equal to or
Greater than 0.6g, the value Cs shall not be taken less than:
Need not to exceed the following
Shall not be taken less than

## Slide 33: Study Site

## Slide 34: https://seismicmaps.org/
ASCE 7-16
ASCE 7-10

## Slide 35: Response Spectra
Chart: Period (Seconds)
 | 0 | 0.723
 | 0 | 0.723
 | 0 | 0.392
 | 0.392 | 0.392
 | 0 | 0.747
 | 0 | 0.747
 | 0 | 0.326
 | 0.326 | 0.326

## Slide 36
http://earthquake.usgs.gov/regional/ceus/products/grid_download.php#Probabilistic?page=products/grid_download.html&toc=products/products_toc.htm
0.6g

## Slide 37
0.3g

## Slide 38: When to Perform Site Specific Analyses
Perform site-specific studies when we have evidence that uncertainties associated with site-specific analyses can be reduced by going to the effort and cost to conduct such analyses.

## Slide 39: Local Site Effect

## Slide 40: One-Dimensional Ground Response Analysis
Shallow Soil Layers
Crustal Rock
Seismic Source:
M0S(f)
Propagation Path
G(R) D(R,f)
Near Site:
Am(f) P(f,fm)

## Slide 41: Deterministic Seismic Hazard Analysis (DSHA)
M2
M2
Notes: Identify and characterize all earthquake sources capable of generating significant shaking at the site.
Calculate the source-to-site distance for each source identified in step 1.
  Distance measures can include epicentral distance and hypocentral distance: depending on the distance measure adopted in the predictive (attenuation) relationship.
  Step 2 in the figure below illustrates the calculation.
Select the controlling earthquake, that is, the earthquake that generates the greatest shaking effect (typically acceleration) at the site using attenuation relationships.
  Step 3 of the figure illustrates the process for the three sources and distances. The controlling earthquake is described in terms of its magnitude and distance from the site (e.g., 7 at 10 km).
Define the hazard at the site by the controlling earthquake (spectral ordinates, maximum ground acceleration, maximum ground velocity, maximum ground displacement).

## Slide 42: Probabilistic Seismic Hazard Analysis (cont’d)
M
Mo
Mu
f(M)
Define Seismicity
Parameters
Historical Seismicity
Area Source
Fault
Identify Seismic Sources
Identify Geological Structures
and Tectonic Features
Po
Y0
Y
Develop Seismic
Hazard Curve
Y
Distance
Define Ground Motion
Attenuation
Annual Probability
of Exceedance

## Slide 43: Logic Tree
Source
Geometry
Maximum
Magnitude
Seismicity
Model
Attenuation
Equation

## Slide 44: Site Response Analysis (cont’d)
Soil Profile for Upper
Part 200 feet to
Surface
Depth
0
200 ft
Deep Soil Profile for 200 feet to Paleozoic Rock
Collected Shallow
Soil boring
Database
Field and
Laboratory
Investigations
Digitized Maps
and GIS Program
Notes: We need to propagate time histories at the bedrock through rock and soil layers to the surface.
Consultants to the project suggested that we use a depth of 200 ft as our reference instead of B-C boundary. In addition, the soil amplification factors can be used for shallow soil profile.
Tim Stark of UoM in his recent talk at St. Louis suggested that we use a reference “stiff soil.” similar to the work we have done here.
Two approaches can be used:
1. Using Shake91 propagate time histories from hard rock (2000ft below ground surface) to the surface or 200 ft. or Develop rock outcrop time history using the Quaterwave length amplification approach. Find the time history
at the base of the soil layers and use shake for the top 700 or 600 ft.
For shallow soil profile use collected soil boring logs and downhole and resonant column testing. Use the mapped GIS database of soil layers to the desired rock site location.

## Slide 45: Structural Contour Map, Van Arsdale (2001)
Increasing Deposit Thickness (m)

## Slide 46: Near-Surface Vs Profiles
Romero and Rix (2001) and Romero (2001)

## Slide 47: Reference Vs Profiles (Rix,2001)

## Slide 48: Example

## Slide 49: Example Results

## Slide 50: Example Results

## Slide 51: Example Results

## Slide 52: Example Results

## Slide 53: Example Results

## Slide 54: Somerville

## Slide 55: Paris

## Slide 56: Site Specific

## Slide 57: Probabilistic Maximum Considered Earthquake

## Slide 58: Probabilistic Maximum Considered Earthquake

## Slide 59: Deterministic Limit

## Slide 60: Characteristic Sources: Fictitious faults of NMSZ, M=8.0

## Slide 61: Annual Frequency of Occurrence

## Slide 62: Reduction Limitation

## Slide 63: Design Spectral Response Coefficients

## Slide 64: Response Spectra Based on Site Specific Procedures Sect 3.4.3
A site-specific probabilistic ground motion analysis shall include the following:
  Characterization of seismic sources and ground motion attenuation that incorporates current scientific interpretations, including uncertainties in seismic source and ground motion models and parameter values
  Detailed documentation
  Detailed peer review

## Slide 65: Site Class F
Where analyses to determine site soil response effects are required for Site Class F soils, the influence of the local soil conditions shall be determined based on site-specific geotechnical investigation and dynamic site response analyses.

## Slide 66: Response Spectra Based on Site Specific Procedures Sect 3.4.3
For sites located within 10 km of an active fault, studies shall be considered to quantify near-fault effects on ground motions if these could significantly influence the bridge response.

## Slide 67: Response Spectra Based on Site Specific Procedures Sect 3.4.3
In cases where the 0.2 second or 1.0 second response spectral accelerations of the site-specific exceeds the response spectrum shown below, a deterministic spectrum may be utilized in regions having known active faults if the deterministic spectrum is lower than the probabilistic spectrum.
Period T
Spectral Response Acceleration Sa

## Slide 68: Response Spectra Based on Site Specific Procedures Sect 3.4.3
The deterministic spectrum shall be the envelope of the median-plus standard deviation spectra calculated for characteristic maximum magnitude earthquakes on know active faults, but shall not be lower that the spectrum shown below.
Period T
Spectral Response Acceleration Sa

## Slide 69: Response Spectra Based on Site Specific Procedures Sect 3.4.3
If there is more than one active fault in the site region, the deterministic spectrum shall be calculated as the envelope of spectra for the different faults.
Alternatively, deterministic spectra may be defined for each fault and each spectrum, or the spectrum that governs bridge response may be used for the analysis of the bridge.
When response spectra are determined from a site-specific study, the spectra shall not be lower than two-third of the response spectra determined using the code procedure.

## Slide 70: Acceleration Time Histories Sect. 3.4.4
Time histories shall be either recorded time histories or spectrum-matched time histories.
If sufficient recorded motions are not available, simulated-recorded time histories may be developed using theoretical ground motion modeling methods that simulate the earthquake rupture and the source-to-site seismic wave propagation.
If spectrum matched time histories are developed, the initial time histories to be spectrum matched shall be representative recorded or simulated-recorded motions.
Analytical techniques used for spectrum matching shall be demonstrated to be capable of achieving seismologically realistic time series that are similar to the time series of the initial time histories selected for spectrum matching.

## Slide 71: Acceleration Time Histories Sect. 3.4.4
When using recorded or simulated time histories, they shall be scaled to the approximate level of the design response spectrum in the period range of significance.
For each component of motion, an aggregate match of the design response spectrum shall be achieved for the set of acceleration time histories used.
A mean spectrum of the individual spectra of the time histories shall be calculated period-by-period.
Over the defined period range of significance, the mean spectrum shall not be more than 15% lower than the design spectrum at any period and the average of ratio of the mean spectrum to the design spectrum shall be equal to or greater than unity.

## Slide 72: Questions?